## Slide 1: Slightly More Expensive Solution
Measurement Computing USB 1208LS

## Slide 2: Installation and Setting-up
Install MCCDAQ
Install PyUniversalLibrary
Plugin the MCC USB1208-LS DAQ device
Initiate InstaCal. Press the refresh icon to recognize the device plugged in

## Slide 3: Pin Configuration
Measurement Computing USB 1208LS

## Slide 5: Sending Output from Digital Terminals
Pin 21
Pin 29
To the long leg
To the short leg

## Slide 6: Resolution
Analog
  100 Hz for single end
  50 Hz for dual end
Digital
  Not that accurate for square wave with frequency > 10Hz

## Slide 7
BNC 5-13
Receive from BNC
Pin 2~9
Pin 25
4
5
7
Pin 5
Pin 7
Pin 4
BNC 1-4
Power source
USB Connection
Pin 10-13, 15
Pin 25
Receive from
Serial
LPT2
LPT1
BNC 14-21
I/O Triggers

## Slide 8
USB
BNC 1
Outlook of each side of the box
LPT1 (Pin 21-29 on card)
BNC 2
BNC 3
BNC 4
LPT2(Pin 35-40 on card)
BNC 6
Pin 1-9 on card
Pin 13-20 on card
Pin 10-12 on card
BNC 10
BNC 7
BNC 5
BNC8
BNC9
BNC 16
BNC 13
BNC 11
BNC14
BNC15
BNC 12